nHACCP Weekly Refrigerator Temperature Log (Multiple Location) CCP 2

Instructions: Use this log to record the temperature of refrigerators that store TCS foods. Manager must review log within 7 days.  Employees responsible for taking and recording temperatures must be trained on these procedures

(1) Unit Name: Document the unit’s name

(2) Month/Week: Document the date the week the log commences (Example: October 4, 2020)

(3) Refrigerator Location: Document the name/location of the refrigerator

(4) Date: Document the date the temperatures are taken

(5) AM Time: Document the time the first temperature is taken – this should occur before the operation is open (during stable time)

(6) AM Temp: Document the temperature of the refrigerator in the morning

(7) PM Time (optional): Document the time the temperature is taken in the afternoon if the operation is open

(8) PM Temp (optional): Document the temperature of the refrigerator if the operation is open

(9) Corrective Actions: Highlight any results outside proper operating ranges and comment on reason. Inform head chef/manager. Record corrective actions

(10) Initials: Employee responsible for taking temperatures initials

Standard/Critical Limit: Maintain refrigerator temperature at 40ºF (4ºC) or below during stable times.

Check and record temperature once a day (i.e., at opening of the operation or during other stable time).

Corrective Actions: Check product temperature if ambient air temperature is above 40ºF(4ºC). If product temperature is above 40ºF(4ºC) place product on hold and evaluate for safety using the CFP procedures for handling refrigerated TCS foods during a power outage in the Sodexo Food Safety Manual 1.1.3 HACCP Plan. Contact your food safety manager for guidance if needed.

HACCP Weekly Refrigerator Temperature Log (Multiple Location) CCP 2

Unit Name: Month/Week:

| Date | Time | Cooler 1 | Cooler 2 | Cooler 3 | Milk Cooler 1 | Milk Cooler 2 |  |  | Corrective Actions/Comments | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location |  |  |  |  |  |  |  |  |  |  |

Highlight any results outside proper operating ranges and comment on reason. Inform Person in Charge/Supervisor. Record corrective actions.

Normal operating range: 40OF (4ºC) or below

Checked by Manager Signature:

Date: