Monthly Thermometer Calibration Log

Instructions: Use this log to document the accuracy checks of the operations food thermometers that are in use. Check the accuracy of all in use food thermometers daily. Manager must review log within seven days. Employees responsible for checking accuracy of thermometers must be trained on these procedures.

Procedure:

- Fill container with 50% crushed ice and 50% water. (Use 60% / 40% ratio for cubed ice and water).

- Place thermometer stem into ice water solution (sensor must be completely submerged).

- If using a dial thermometer allow two minutes for the temperature to stabilize

- If thermometer does not read 32ºF (+/- 2ºF) or 0ºC (+/- 0.5ºC), adjust it accordingly. If thermometer cannot be calibrated, discard.

(1) Unit Name: Document the unit name

(2) Month: Document the month of the log

(3) Date: Date has been pre-populated

(4) No. Check: Document the number of food thermometers checked for accuracy

(5) No. Correct: Document the number of thermometers that were accurate

(6) No. Adjusted: Document the number of thermometers that need calibration

(7) Comments: Highlight any results outside proper operating ranges and comment on reason. Inform head chef/manager. Record corrective actions

(8) Initials: Employee responsible for checking accuracy

(9) Mgr. Verification: Manager needs to verify log at least every seven days.

Standard/Critical Limit: Thermometers must be accurate to at least +/- 2ºF from 32ºF (or +/- 0.5ºC from 0ºC).

Corrective Actions: If thermometer does not read 32ºF (+/- 2ºF) or 0ºC (+/- 0.5ºC), adjust it accordingly. If thermometer cannot be calibrated, discard.

Monthly Thermometer Calibration Log

(1) Unit Name (2) Month

| (3) Date | (4) No. checked | (5) No. correct | (6) No. adjusted | (7) Comments | (8) Initial | (9) Mgr Verification |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |

Highlight any results outside proper operating ranges and comment on reason. Inform person in charge/supervisor. Record corrective actions

Thermometers must be accurate to at least +/- 2ºF from 32ºF (or +/- 0.5ºC from 0ºC).